Revision History for W305169

March 14, 2024

Dual Quartz filter samples for US EPA TO-13 semi-volatile and Organophosphate analyses were received at RJ Lee laboratory on May 23, 2-23. Following is the work order that was received and the chain of custody for the 39 samples.

Revision 1 of W305169  and accompanying  EDD file was issues on November 15, 2023. The origin report for the samples received on May 23, 2023 was issued on October 4, 2023. Note that the date reported in the revision changes give an initial issue of October 4, 2022, rather than October 4, 2023. Following were the changes to the final report that were incorporated into Revision 1.

Revised Report; Rev. 1 – Original Issued on October 4, 2023

This report has been revised to correct the following:

1) The calculation of the Reporting Limit for those results having units of μg/m3. The reporting

limits on the original report were based on an estimated method detection limit rather than the

reporting limit (based on the lowest calibration point).

2) Revised the Electronic Data Deliverable to change the reporting units of μg/m3 to ug/sample and

the μg/sample units to μg/m3.

3) There was an error in the calculation of the parts per billion volume (ppbv) results in all sample

reports. This error has been corrected.

4) The reporting limit for tributylphosphate has been changed in all reports. It has been decreased

by a factor of 2. This error was due to a carryover from a previously used reporting template for

the organophosphate analyses.

No other revisions are reported after report # W305175, Revision 1.