## Sheet1
9:00
Date: 6/4/2024 |  | Notes: Started in span 1 entrance on SW corner. All references to L + R are looking North
Bridge Number: 101-0134 (NB I-39 over Kishuakee)
Inspectors: Mathew Ingram, Denilson Saavedra
Weather: 75 degrees, overcast
Photo No. | Photo name or description | Looking
1 | NB I-39 from West Side | N
2 | Inside bridge span 1 | N
3 | Diaphragm 3 - North face east tendon 2 (tendon squeeze) ~2' potential delam @ top of tendon | S
4 | Diaphragm 3 - North face east tendon 2 (tendon squeeze) ~2' potential delam @ top of tendon | S
5 | Deviator 2 North face, approx. 1 ft potential delam top tendon 3 (B3-L diaphragm hole) | SW
6 | Tendon 6-L at deviator 5, approx. 8 ft potential delam top of tendon | N
7 | Tendon 6-L at deviator 4, approx. 7 ft potential at top of tendon | S
8 | Tendon 5-L at deviator 5, Delam at top between dev. 4 & 5 | N
9 | Pier 2 -> south face - chloride leaching on tendon | N
10 | Pier 3 -> south face tendon 6L ~2' potential delam | N
11 | Pier 4 -> south face tendon 9R ~1' potential delam (hollow sounding) | NE
12 | North Abutment | N
13 | tendons 9 + 10 R at N abut. | SE
14 | tendons 9 + 10 L at N abut. | SW
15 | Tendons 11 + 12 L at N abut. | SW
16 | Overall span 5 | S
17 | Deviator 18 | S
18 | Deviator 17 | S
19 | Deviator 16 | S
20 | Deviator 17 | N
21 | Deviator 16 | N
22 | Pier 4 | S
23 | Pier 4 | W
24 | Deviator 15 | S
25 | Pier 4 | N
26 | Deviator 14 | S
27 | Deviator 15 | N
28 | Span 4 | S
29 | Deviator 14 | N
30 | Deviator 13 | S
31 | Deviator 12 | S
32 | Deviator 13 | N
33 | Pier 3 | S
34 | Deviator 12 | N
35 | Pier 3 | W
36 | Pier 3 | E
37 | Pier 3 | N
38 | Deviator 11 | S
39 | Deviator 10 | S
40 | Deviator 11 | N
41 | Span 3 | S
42 | Deviator 10 | N
43 | Tendon holddown Detail - Span 3 | S
44 | Deviator 9 | S
45 | Deviator 8 | S
46 | Deviator 9 | N
47 | Pier 2 | S
48 | Deviator 8 | N
49 | Pier 2 | W
50 | Pier 2 | E
51 | Deviator 7 | S
52 | Deviator 6 | S
53 | Deviator 7 | N
54 | Deviator 6 | N
55 | Span 2 | S
56 | Deviator 5 | S
57 | Deviator 4 | S
58 | Deviator 5 | N
59 | Pier 1 | S
60 | Deviator 4 | N
61 | Pier 1 | W
62 | Pier 1 | E
63 | Deviator 3 | S
64 | Deviator 2 | S
65 | Deviator 3 | N
66 | Deviator 2 | N
67 | Span 1 | S
68 | Deviator 1 | S
69 | Deviator 1 | N
70 | South Abutment | S
71 | Tendons 1 + 2 R at S. Abut. | E
72 | Tendons 3 + 4 R at S. Abut. | E
73 | Tendons 3 + 4 L at S. Abut. | NW
74 | Tendons 1 + 2 L at S. Abut. | NW
75 | Broken Tendon | N
76 | Tendon 4L with end cap removed at S. Abutment | N
77 | Tendon 3L with end cap removed at S. Abutment | N
78 | Tendon 3R with end cap removed at S. abutment | N
79 | Tendon 4R with end cap removed at S. Abutment | N
80 | Tendon 2L with end cap removed at pier 1 | S
81 | Tendon 2L with sample removed at pier 1 | W
82 | Tendon 2R with end cap removed at Pier 1 | S
83 | Tendon 1L with end cap removed at pier 1 | S
84 | Tendon 1L with sample removed at pier 1 | S
85 | Tendon 7R at pier 2 end cap removed | N
86 | Tendon 7R at pier 2 sample removed | N